## Master Load Sheet
PART NUMBERS |  | PRODUCT DESCRIPTION AND DETAILS | [7 empty] | MSRP
Ordering # | Model # | Brand Name | Product Title [max 40 characters] | Long Description [max 70 characters] | Bullet Point 1 | Bullet Point 2 | Bullet Point 3 | Bullet Point 4 | Bullet Point 5 | US $ MSRP
VS290-32 | VS290-32 | FLIR | Thermal MSX Videoscope Kit | Thermal 160x120 MSX Videoscope Kit with 2m Probe and Rectangular Tip | Troubleshoot problems from a safe distance with the 160 × 120 true thermal imager and 2 MP visual camera | Instantly recognize the location of a temperature issue with FLIR MSX, which extracts scene details from the built-in visual camera and embosses them onto the full thermal image | Navigate dark environments using the bright LED worklight | Use color alarms (Isotherms) to quickly identify areas of concern | Conduct electrical inspections safely (CAT IV 600 V rated) | 7999
VS290-00 | VS290-00 | FLIR | Videoscope Display for VS290 Series | Videoscope Display and Battery for VS290 Series (No Probes) | 3.5" RGB TFT LCD (320 x 240 pixels) | Includes rechargeable and field-replaceable Li-ion battery | Surface brightness 1000 cd/m2 | USB Type-C port for data transfer/power | 70 degree viewing angle | 3299
VSC-IR32 | VSC-IR32 | FLIR | Thermal MSX Camera Probe with Rectangular Tip | Thermal 160x120 MSX Camera Probe with Rectangular Tip | 160 x 120 IR resolution | 2 MP digital camera | Powerful LED worklight | 2 m field-replaceable camera probe with flex points | Side-viewing cameras and worklight | 4165
SV87-KIT | SV87-KIT | FLIR | Vibration Monitoring Solution | Gateway with 4 Remote Vibration and Temperature Sensors | Automatic alerts or emails triggered when user set vibration or temperature thresholds are exceeded | Continuous automatic 24/7 screening of key assets | Visualizes current, historic, min/max/live data and trending charts on connected smartphones or Windows PCs | Gateway consolidates sensor data and stores it in case of Wi-Fi outage | Windows application can export data to CSV files | 1665
GW65 | GW65 | FLIR | Remote Monitoring Gateway | Gateway and 4 AC Connectors for US/EU/UK/AUS/NZ Outlets | Receives vibration and temperature data from sensors via Bluetooth® and sends data to Windows and mobile apps using Wi-Fi® | Stores sensor data to internal memory in case of Wi-Fi outage - approx. 5 days of data for 4 sensors | Supplied with AC connectors for US/EU/UK/Australia/NZ power outlets | Works on 100 to 240 V AC, 50/60 Hz | LEDs indicate power and Wi-Fi status | 199
SV87 | SV87 | FLIR | Vibration and Temperature Remote Sensor | Battery operated with Bluetooth communications. IP67 rated. | Collects vibration and temperature readings every 90 seconds and automatically sends it to the Remote Monitoring Gateway via Bluetooth | 4-year battery (typical usage). Low battery indicated by LED and in the data stream | Ingress Protection IP67 rated | Sensitivity Range ±32 g | Frequency Range 10 Hz to 1 kHz | 399
Prices don't include VAT